VIRIDIAN MIRRAECHO

Glass shall be Viridian MirraEcho.

The glass shall be 		 * thick ____________+ (Mirror on glass).

- Glass Thicknesses available are – 3mm, 4mm, 5mm and 6mm.

- Mirror Available On – Clear, Grey, Bronze Glass

All glass is to be selected and installed in accordance but not exclusively with the following Australian and/or New Zealand Standards

- AS 1288 Glass in Buildings Selection and Installation

- AS 1170 Minimum Wind Loads on Structures

- AS/NZ 2208 Safety Glazing Materials in Buildings

- AS/NZ 4666 Insulating Glass Units

- AS/NZ 4667 Quality Requirements for cut-to-size and Processed Glass